# BOM – Bill of Materials

| Component | Per Site Quantity |
| --- | --- |
| 32 Zone Alarm Panel | 1 |
| Dual SIM 4G Internet Router/Modem | 1 |
| Magnetic Contact Sensor | 11 |
| Motion Sensor | 1 |
| Vibration Sensor | 1 |
| Thermal Sensor | 1 |
| Metal Contact Sensor | 5 |
| Panic Switch | 2 |
| Hooter | 1 |
| NVR Based Two-way Communication | 1 |
| AI Edge Device with Speaker | 1 |
| USB Speaker | 1 |
| 12V 12Ah Battery Backup for CCTV & Other Alarms | 6 |
| Glass Break Sensor | 1 |
| Smoke Detector | 2 |
| Data SIM | 2 |
| DC Connector | 4 |
| Calling SIM | 1 |
| RJ45 Connector | 10 |
| Patch Cord 1 Meter | 4 |
| Antenna 18dB | 1 |
| Cat-6 Cable | 55 |
| 4 Core Cable | 180 |
| Vandal Proof Dome IP Camera with SD Card Support | 2 |
| Vandal Proof Bullet IP Camera with SD Card Support | 1 |
| IP Hidden Camera with SD Card Support Vandal Proof | 1 |
| 32 GB SD Card | 4 |
| Termination Box (4x4) | 2 |
| Weather Proof Termination Box (4x4) | 2 |
| 8 Channel NVR | 1 |
| 4 TB Hard Disk | 1 |
| 5 Port Switch | 1 |
| Mini UPS for Power Backup | 1 |